## SOLAR FINANCIALS
SOLAR FINANCIAL CALCULATOR -RESIDENTIAL |  |  | For Commercial
ASSUMPTIONS | Electricity Demand / Month (KWh) | 5000 | 600000
| Odisha Solar Irradiance ( KWh/m²/day) | 5
| System losses (% of power generated) | 20%
| Days / Month | 30
| Avg. Power / Module (W) | 400
| Avg Purchase Price of Module (₹ / W) | 30
| Other Infra. Cost (₹ / W) | 15
| Area Req. (Sq. m/ KWh) | 10
| Govt. CFA Subsidy (All Inclusive) | 78000
| 1 Crore | 10000000
| Ton / Kg | 1000
| INR / USD | 87
Project Description
Parameters | UoM | Value
System Size | KW | 40
No. of Modules | Nos. | 100
Total Area Required | Sq. m | 1000
Total Project Cost (Lakhs) | ₹ Lakh | 18
Note on C5: (wiring, inverter efficiency, temperature), -Ayan Saha
Note on C9: inverter, Mounting, Wiring, Labour, Others -Ayan Saha
Note on C11: PM Surya Ghar: Muft Bijli Yojana & OREDA’s Solar Scheme -Ayan Saha